Noise Complaint Checklist

In order to assist the product support engineers to better evaluate noise complaints please provide information below as it applies.

- Check and/or provide all that apply:

Customer Complaint:

Outdoor Unit:       Serial:

Indoor Unit:       Serial:

Control (thermostat style):

If UI what software version?

Zoning details:

Discharge Line Diameter:

Suction Line Diameter:

Line set length:

Vertical rise in line set?       If yes, how long?

- During what cycle is the noise occurring?

Defrost

Cooling

Heating

Shut Down

- When during this cycle is the noise occurring?

Start of cycle

Termination of cycle

Unit shut down

Unit start up

Increases in volume the longer the cycle runs

Decreases in volume the longer the cycle runs

The noise level has increased over the life of the product.

The noise has been occurring since time of installation.

The noise level increases as OD ambient increases

- How would you best describe the noise?

Clunk

Harmonic

Whistle

Swoosh

Chirp

Growl

Wha wha

Moose Call

Rattle

Hammer

Helicopter

Other, please describe

- What are the ambient conditions?

  - OD ambient

  - ID wet bulb

  - ID dry bulb

- What is the charge and air flow condition?

- Suction pressure

- Discharge pressure

- Subcooling

- Superheat

- Airflow CFM

- What type of metering device is on the system? (size or number if known)

TXV part number

Cooling Piston size

Heating Piston size

- If compressor, fan or line noise is suspect conduct the following procedures if applicable:

Isolate the compressor and fan from each other and run with only one on at time.

  - Results

If line noise, does applying pressure in any particular location around suspected noise change the tone?

  - (explain)

- If noise is suspected in the fan motor, blade or grille observe the following if applicable:

- Inspect grille for loose screws or broken wires. Results?

- Does blade have any visible damage?

- If blade is moved up on the shaft does noise subside?

- If noise is a grille, panel or louver observe the following as applicable:

- Are all screws tight?

- Do parts appear to fit together properly? (explain)

- Is the unit level?  YES   NO

- Is the unit base on a clean flat surface?YES   NO

Additional Information:

To be filled out by the Distributor Service Manager:

FRS number assigned to this complaint:

Service Manager’s Name:      		Job Location:

Are there multiple dealers with this issue?  Only one dealer

Does dealer have multiple units experiencing same issue?  Yes  No

Is it possible to get parts or unit back if Engineer request?  Yes  No

Comments: